PART 1 – GENERAL

1.1	SUMMARY OF PRODUCT

- Echotrol™ Acoustic Baffles manufactured with formaldehyde-free medium density acoustic insulation that meets all relevant CAN/ULC, ASTM, and CGSB material standards and is GREENGUARD Children & Schools Certified.

  - SUBMITTALS

- Shop Drawings: Show fabrication and installation details for acoustic baffles, including plans, elevations, sections, details and attachment to other work.

- Submittals:  Furnish samples, showing manufacture full range of colors, texture and patterns available for each type of acoustic product specified.

- Qualification Data: For firms specified in “Quality Assurance” Article to demonstrate their capabilities and experience.

- Product Certificates: Signed by manufacturer certifying that the products furnished comply with requirements.

  - QUALITY ASSURANCE

- Manufacturer and Installer Qualifications: Manufacturer and Installer shall have a minimum of 5 years experience in producing and installing specified products and shall furnish supporting documentation showing completed jobs of approximately the same size and scope.

  - DELIVERY, STORAGE, AND HANDLING

- Protect acoustic baffles from water, rain, and/or snow when shipping/handling.

- DO NOT drag baffles across surfaces as fabric/baffle damage/soiling can occur.

- 2 people are to carry baffles packaged in 5-packs 1200mmx1200mm in size and larger.

- Only install acoustic baffles when building is enclosed and HVAC is operational.

- Do not install acoustical baffles until wet work is complete and dry.

- Install baffles after painting and flooring is completed and/or installed.

PART 2 – PRODUCTS

2.1	PANELS, GENERAL

- The manufacturer’s acoustic panels shall be made with medium density (40kg/m3/2.5lb/ft3) formaldehyde-free smooth fiberglass wrapped with acoustically transparent fabric. 
48 kg/m3/3lb/ft3 density option is available upon request.

- Product Model: Echotrol™ Acoustic Baffle

Western Noise Control

T: (800) 661-7241   |   E: info@acousticsolutions.com

- Facing Materials: Acoustically Transparent Fabrics as per Architect

- Baffle Thickness: Nominal 2”

- Noise Reduction Coefficient:  2.5lb/ft2 NRC = 0.80  |  3lb/ft2 NRC = 0.95

- Baffle Width: Up to 2440 mm (96”)  - nominal size

- Baffle Height: Up to 1220 mm (48”) - nominal size

2.2	CONSTRUCTION

- The acoustic baffle product shall be supplied in widths and lengths as indicated.  All surfaces will be fully wrapped with mounting as indicated.

2.3	MOUNTING

A.	Mounting Accessories: Manufacturer’s standard accessories for securely mounting baffles of type and size indicated and complying with the following requirements:

- Factory-installed grommets are provided in the baffle along with a proprietary fastening assembly engineered for the specific ceiling baffles are being hung from.  Ceiling substrate fasteners must be as per manufacturer’s specification to ensure loading is engineered so baffle cannot fall off ceiling.  No adhesive is required for ceiling baffles.

2.4	ACOUSTIC PERFORMANCE

Sound Absorption: Per ASTM C–423 Type J Mounting

40kg/m3/2.5lb/ft3 Density

2” Thick Sound Absorption Coefficient per Octave Band Center Frequency

125Hz	250Hz	500Hz	1000Hz	2000Hz	4000Hz		NRC

0.22	0.45	0.79	0.93	0.96	0.96		0.80*

48kg/m3/3lb/ft3 Density

2” Thick Sound Absorption Coefficient per Octave Band Center Frequency

125Hz	250Hz	500Hz	1000Hz	2000Hz	4000Hz		NRC

0.33	0.67	1.07	1.07	1.03	1.06		0.95*

*Note:	Average NRC is based on the 250,500, 1000, and 2000 Hz

frequency bands and rounded to nearest multiple of 0.05.  Also note that sound absorption for a vertically hung Acoustic Baffle is significantly higher than that of a wall/ceiling mounted Acoustic Panel given its larger (approximately double) exposed surface area.

2.5	SURFACE BURNING CHARACTERISTICS

- All components pass flame spread and smoke development tests for CAN/ULC S102-M88 and/or ASTM E84 Class 1/A, NFPA 255, and/or NFPA 260 (Class 1).

PART 3 – EXECUTION

  - INSTALLATION

- Install acoustic baffles in locations indicated and in alignment with other baffles.   Comply with manufacturer’s written instructions for installation of baffles using type of mounting accessories indicated or, if not indicated, as recommended by manufacturer.

  - CLEANING

- After completion of installation of baffles, remove dust and other foreign material with a horsehair duster brush mounted on a vacuum cleaner. A damp cloth with mild detergent and warm water or foam/pure water-free solvents can also be used for heavier soiling BUT an inconspicuous section on the side of the baffle should be tested beforehand when “wetting” the baffle/fabric with anything.

END OF SECTION